| Project Name | Engineering Practice 2 project |  |  |
| --- | --- | --- | --- |
| Project Sponsor | Vincent Seow | Project Manager | Finlay Slater |
| Date of Project Approval |  | Last Revision date | 22/10/2026 |
| Scope Description | In Scope: - Install sensor network within pilot buildings (Sensors will measure occupancy, temperature, lighting and energy measuring sensors) - Develop and deploy a central management dashboard for system to report figures for UWE staff - Integrate sensor data to UWE infrastructure to reduce energy usage within buildings - Issue training to facility management team - Commission the system to ensure compliance with current infrastructure - Report energy savings against a pre project baseline reported. Out of Scope: - Issuing the system beyond pilot building - Installing alternative methods of generating energy - Major modifications to HVAC, lighting and electrical infrastructure - Giving alternative methods to report data outside of central management dashboard - Ongoing support of the project beyond the deadline |  |  |
| Project Deliverables | - Sensor network is installed and provides outputs to central management system - Central management system provides real time and historical data of sensor network - User guide for central management system - Sensor data can be used to actuate lighting HVAC and electrical infrastructure. - Risk assessment and compliance documentation of system - Maintenance and support manual for system - Training session for facility management team - Provide an output for savings with smart system compared to baseline energy usage |  |  |
| Acceptance Criteria | - Installation of sensor network and dashboard and verify they are operational - Facility management staff are comfortable navigating dashboard - Project delivered within budget and time period defined in constraints - Energy usage reports a lower energy usage than pre project baseline provided |  |  |
| Constraints | - £500,000 budget - 24 Month project duration - Must minimise disruptions to campus - Utilise existing infrastructure |  |  |
| Assumptions | - Existing infrastructure in place at UWE - There will be no major interference with project causing significant delay - Appropriate time defined in project will be provided to install sensors with in buildings - A baseline energy usage is provided by stakeholders with evidence for the value provided |  |  |